Form 11

**Application for exhibition of product not approved**

**under the Act on Pharmaceuticals, Medical devices,**

Date

To Chairperson

Hiroshi Honda

Japan Radiology Congress (JRC)

**Application for Exhibition**

**International Technical Exhibition of Medical Imaging 2020**

Name of applying company

Name of the Representative

Signature

Considering the item indicated below will contribute to the promotion of science, we hereby apply for its exhibition, with referential materials separately attached, in strict compliance with the Act on Pharmaceuticals, Medical devices, etc.

1. Exhibit (a product not approved under the Act on Pharmaceuticals, Medical devices, etc.)

New item or partially modified item (Please circle either) : New / Partially modified

Designation:

Description:

Quantity:

2. Reasons for exhibition

a) The item is presented at the meeting concerned.

b) The item has been newly developed, applying a newly introduced technology.

c) The item has been improved, using a newly introduced technology.

d) The item has been newly developed on the basis of a new principle.

e) The item has been improved on the basis of a new principle.

f) Other reason (Please specify )

3. Exhibition site and dates

Fill in "✓" in parentheses for the venue where you will exhibit.

If you exhibit at both venues, put "✓" in both places.

Site : *Pacifico* Yokohama Exhibition Halls A (a part), B, C, and D

Dates : April 16 (Fri.) , 2021 10:00 - April 18 (Sun.) , 2021 15:00

( )

Web Exhibition: JRC2021WEB (open to the public in ITEM2021-WEB)

(limited access only for medical professionals)  
Date : JRC2021WEB exhibition period (May 12(Wed.), 2021 - June 3(Thu.), 2021)

( )

Separate documentation attached to the application for exhibition

Reasons for Exhibition

1. Summary of the reasons

a)

b)

2. Reference document

**Reasons for Exhibition (Sample)**

1. Summary of the reasons for image quality improved by the introduction of a new technique,

a) A large volume of data is obtained over a short time by using continuous radiation, suppressing artifacts from body motion to yield more detailed images.

b) Application of high frequency inverter for generating high voltage X-ray produces stability at high voltage, which enables the provision of high quality images despite a short scan time.

2. Miscellaneous (documents demonstrating the features of the exhibits should be added if any.)

End

Form 12

**Request for exhibition of product not approved under**

**the Act on Pharmaceuticals, Medical devices, etc.**

Date

Hiroshi Honda

Chairperson

Japan Radiology Congress (JRC)

**Request for Exhibition**

**at International Technical Exhibition of Medical Imaging 2020**

After a deliberate investigation, the following item (1) that has not been approved under the Act on Pharmaceuticals, Medical devices, etc. has been judged to be in compliance with the objective of our association. We therefore request herein to exhibit the item at the exhibition under the conditions described in the section (2) and section (3) below.

(1) Item

Designation:

Description:

Quantity:

(2) Exhibition site and dates

Fill in "✓" in parentheses for the venue where you will exhibit.

If you exhibit at both venues, put "✓" in both places.

Site : *Pacifico* Yokohama Exhibition Halls A (a part), B, C, and D

Dates : April 16 (Fri.) , 2021 10:00 - April 18 (Sun.) , 2021 15:00

( )

Web Exhibition: JRC2021WEB (open to the public in ITEM2021-WEB)

(limited access only for medical professionals)  
Date : JRC2021WEB exhibition period (May 12(Wed.), 2021 - June 3(Thu.), 2021)

( )

(3) Conditions

(a) It should be Indicate clearly that the item is not approved under the Act on Pharmaceuticals, Medical devices, etc. and that neither its sale nor presentation is permitted.

(b) Claims concerning method of manufacture, effect and efficacy, and performance must be precise and based on data from objectively performed testing or other similar source.

(c) In principle, related documentation and other materials may not be distributed.

(d) After the exhibition closes, the item may not be sold or given away, but must be disposed of, sent back, or dealt with in another appropriate way.

Form 13

**Application for Notice Boards for Exhibiting Products not Approved**

**under the Act on Pharmaceuticals, Medical devices, etc.**

Date

To Japan Medical Imaging and

Radiological Systems Industries Association (JIRA)

Booth number

Company name

Address

Section

Person in charge

Phone

Facsimile

E mail

Submission deadline: February 14, 2020

We are pleased to submit an application as indicated below.

|  |  |  |  |
| --- | --- | --- | --- |
| Type | Unit price (including tax) | Quality | Amount |
| (i) A nitice to be used, as a basic rule (300 x 210 mm, A stand will not be attached.) | \550 | PCS | \ |
| (ii) For use with panel or mid-size devices (210 mm x 150 mm; stand-alone type) | \550 | PCS | \ |
| (iii) For tabletop display of small devices (150 mm x105 mm, stand-alone type) | \550 | PCS | \ |
| (iv) Stickers for use with PCs and tablets (66 mm x 15 mm, a set of 3 stickers) | \110 | SET | \ |
|  | Total | PCS | \ |

Form 14

**Notification of Withdrawal of Application for Exhibition**

**of Product Not Approved under the Act on Pharmaceuticals, Medical devices, etc.**

Date

To Chairperson

Hiroshi Honda

Japan Radiology Congress (JRC)

Name of applying company

Name of the Representative

Signature

We would like to withdraw the application for exhibition of the following product not approved under the Act on Pharmaceuticals, Medical devices, etc. because of

* + our own circumstances
  + approval obtained as follows:

Date of approval:

Number of approval:

Date of Application for Exhibition:

Description of Item:

Quantity:

End